Une : a Declarative DSL for the Mingle Platform
DATA TYPES
BASIC
BOOLEAN: { TRUE | FALSE }
        (Alias: CLOSED, ON, YES | OPEN, OFF, NO)
NUMBER : Decimal (signed 32-bits: 1234.56 or 1_234.56)
STRING : Everything in between double quotes (“ ”)
EXTENDED
date(), time(), list(), pair()
MISCELLANEOUS
Language is case insensitive
Command separator: LF + LF (blank line)
Comments: # (ignores to the end of the line)
\ continues in next line
Commands can be in any order1
Compiler always use UTF-8 for output
(1) The same for the clauses inside a command
URI SCHEMES (between quotes)
file:// (wildcards allowed)
http:// (wildcards not allowed)
https:// (wildcards not allowed)
NUMBERS SUFFIXES
Time : { u | t | s | m | h | d } (converts to millis)
Temperature: { c | f | k } (converts to Celsius)
OPERATORS
Arithmetic: +, -, *, /, %, ^
        (Sum, Diff, Times, Divide,Mod, Power)
Relational: ==, >, <, >=, <=, !=, <>
(Alias: IS or EQUALS or ARE, BELOW,
ABOVE, LEAST, MOST, UNEQUAL, IS_NOT)
Conditional: &&, ||, |&, !
        (Alias: AND, OR, XOR, NOT)
Bitwise: &, |, ><, ~ >> <<
(Alias: BAND, BOR, BXOR, BNOT) (shifts)
Assign: = (Alias: SET)
Send (get/set - functions invocation) :
ENUNCIATIONS
<name1> : Letter, Digit2. or ‘_‘ (max 48 chars)
<type> : Either a ‘basic’ or a ‘extended’ data type
<expression>: { <name> | <type> } <operator> <expression>
<literal> : <name> | <type> | <expression>
(1) In Une, ‘name’ is the same as ‘identifier’ or ‘label’ in other languages
(2) Names can not start with a digit
MACROS
Folders
{*home*} MSP home
{*home.inc*} includes
{*home.lib*} libraries
{*home.log*} logs
{*home.tmp*} temporal
PREPROCESSOR
INCLUDE {“<URI [*|**](1)>” | “*”} [ ; …]
USE <name(s)> AS <literal> [; …]
(1) While * Includes all files in folder, ** includes also subfolders.
     Use of asterisks works only with local files
SCRIPTS (for advanced users)
SCRIPT [<name>]
      LANGUAGE { java | js | python | ...}
      FROM { “<URI>” [; ...] | {<code>} }
      [CALL “<entry_point>”]
     [ONSTART] [ONSTOP]
DRIVERS (for advanced users)
DRIVER <name>
       SCRIPT <script-name>
      [CONFIG <prop> AS {ANY | <data_type>} [REQUIRED] [; ...]]
DEVICES (SENSORS & ACTUATORS)
DEVICE(1) <name>
     [INIT <(2)prop> = {<literal> | <expresion(3)>} [; …]]
     DRIVER <driver>
        [CONFIG name = {<literal> | <expression(3)>} [; …]]
      Example:
        DEVICE LightKitchen
INIT
        groups SET “lights, ground_floor”
        (3) value SET “an string”.len() ABOVE 0
        DRIVER driverForLights
        CONFIG
        IP SET ”192.168.1.110”
(1) SENSOR and ACTUATOR are synonyms (alias) of DEVICE
(2) In MSP is one of following: ‘groups’, ‘value’, ‘delta’, ‘downtime’
(3) If it is an expression, it must be resolvable at compilation time
RULES
[RULE <name>]
     WHEN <precondition> [{AND | OR} […]]
     THEN <actions> [; …]
     [IF <future-condition] [{AND | OR} […]]
     [USE <alias>] [; …]
PreConditions
    [[ANY | ALL] <group_name>] <expression>
Actions
    {<script> | <rule> | {<device> | <group>} = <expression>}
    [AFTER <time_unit>]
Future-conditions (optional)
    [[ANY | ALL] <group_name>] <expression>
    [{AFTER | WITHIN} <time>]
Aliases (optional)
    USE <name> AS <expression>
    Examples:
        WHEN Inside > 0K # Zero Kelvin: true for every new value
        THEN console = “The temperature inside is “+ Inside +“ ºC”
        WHEN alarm IS ON
        THEN all_lights SET OFF
        WHEN ANY contact IS OPEN AND alarm IS ON
        THEN MyTelegram SET “Danger: intruders at home”
        IF (alarm IS ON) AFTER 20s
        WHEN ANY door IS open OR ANY window IS open
        THEN heater SET off
        IF (ANY door IS open OR ANY window IS open) WITHIN 3m
RESERVED KEYWORDS
AFTER	ALL	ANY	AS
CALL	CONFIG	DEVICE	DRIVER
FROM	IF	INCLUDE	INIT
LANGUAGE	ONSTART	ONSTOP	REQUIRED
RULE	SCRIPT	THEN	USE
WHEN	WITHIN		For future →
ALIAS	BY	FOR	ONERROR
How to learn Une
Read “Une_language.pdf” and try the examples in the “examples” folder (they are ordered by difficulty) using the IDE (named “Glue”).
Visit: https://mingle.peyrona.com